## PRICELIST
PRODUCT INFORMATION | [6 empty] | SRP (End-User) |  | DEALER's PRICE |  | CONTRACTOR's PRICE
CATEGORY | BRAND | TYPE | MODEL | ITEM DESCRIPTION | OTHER DESCRIPTION | UPDATED PRICE | Small Volume (50% Mark-Up) | Big Volume (30% Mark-Up) | Small Volume (30% Mark-Up) | Big Volume (20% Mark-Up) | Small Volume (15% Mark-Up) | Big Volume (10% Mark-Up)
FIRE-PRO |  | Set |  | Fire Hose Cabinet w/Local Accessories | Cabinet Surfaced w/hose rack -fire hose 1 1/2x100ft. Single Jacket -angle valve 1 1/2 (giacomini) -fog nozzle 1 1/2 (adjustable) (giacomini) -rack nipple 1 1/2 -fire extinguisher 10 lbs. | 9000 | 13500 | 11700 | 11700 | 10800 | 10350 | 9900
FIRE-PRO |  | Set |  | Fire Hose Cabinet w/Local Accessories | Cabinet Surfaced w/hose rack -fire hose 1 1/2x100ft. Single Jacket -angle valve 1 1/2 (giacomini) -fog nozzle 1 1/2 (adjustable) (giacomini) -rack nipple 1 1/2 -fire extinguisher 10 lbs. | 9000 | 13500 | 11700 | 11700 | 10800 | 10350 | 9900
FIRE-PRO | Yamato |  |  | Single Jacket Fire Hose | 1 1/2 ( 100ft ) alloy coupling | 2500 | 3750 | 3250 | 3250 | 3000 | 2875 | 2750
FIRE-PRO | Giacomini |  |  | Brass Fog Nozzle | 1 1/2 adjustable | 1800 | 2700 | 2340 | 2340 | 2160 | 2070 | 1980
FIRE-PRO |  |  |  | Brass St. Nozzle | 1 1/2 | 700 | 1050 | 910 | 910 | 840 | 805 | 770
MARINE VALVE |  | GATEVALVE FLANGE TYPE |  | 100 MM 125PSI |  |  | 0 | 0 | 0 | 0 | 0 | 0
MARINE VALVE |  |  |  | 125 PSI |  |  | 0 | 0 | 0 | 0 | 0 | 0
MARINE VALVE | Weflo(UK) | Gate Valve, |  | Gate Valve, Ductile Iron Body,3&quot;(75mm), NRS, Flanged End |  | 9321 | 13981.5 | 12117.3 | 12117.3 | 11185.2 | 10719.15 | 10253.1
MARINE VALVE | Mech / Weflo |  |  | Butterfly Valve 4&quot;(100mm),300 psi,UL/FM, C. I. Body, Wafer Type with Built-in tamper switch |  | 12300 | 18450 | 15990 | 15990 | 14760 | 14145 | 13530
MARINE VALVE | Weflo(UK) |  |  | Calibrated Pressure Gauge 2.5&quot;facedial,0-300 psi, 1/4 NPT with calibration test certificate. |  | 650 | 975 | 845 | 845 | 780 | 747.5 | 715
MARINE VALVE |  |  |  | system sensor water flow switch |  | 3800 | 5700 | 4940 | 4940 | 4560 | 4370 | 4180
MARINE VALVE |  |  |  | spray nozzle 1 1/2 |  | 1600 | 2400 | 2080 | 2080 | 1920 | 1840 | 1760
MARINE VALVE |  | GLOBE VALVE |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
MARINE VALVE |  | GATE VALVE |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
MARINE VALVE |  | ANGLE VALVE |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
MARINE VALVE |  | CHECK VALVE |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
MARINE VALVE |  | BRONE GATE VALVE |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
MARINE VALVE |  | BRONZE GLOBE VALVE |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
MARINE VALVE |  | BRONZE ANGLE VALVE |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
MARINE VALVE |  | EMERGENCY SHUT-OFF VALVE |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
MARINE VALVE |  | ANGLE HOSE VALVE |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
MARINE VALVE |  | AUTOMATIC AIR VENT GIACOMINI |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
MARINE VALVE |  | FIRE HOSE GLOBE VALVE |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
FIRE PROTECTION VALVES |  | WATER FLOW DETECTOR SYSTEM SENSOR |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
FIRE PROTECTION VALVES |  | SUPERVISORY SWITCH SYSTEM SENSOR |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
FIRE PROTECTION VALVES |  | ALARM PRESSURE SWITCH SYSTEM SENSOR |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
FIRE PROTECTION VALVES |  | SIGHT GLASS GEM |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
FIRE PROTECTION VALVES | GLOBE | SPRINKLER HEAD -PENDENT , UPRIGHT SIDEWALL |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
FIRE PROTECTION VALVES |  | ALARM CHECK VALVE CLA-VAL |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
FIRE PROTECTION VALVES |  | SWING CHECK VALVE HYFLO |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
FIRE PROTECTION VALVES |  | BUTTERLY VALVE SWITCH HYFLO |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
FIRE PROTECTION VALVES |  | RUBBER EXPANSION JOINT FLEXABLE CONNECTOR |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
FIRE PROTECTION VALVES |  | HOS NIPPLE |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
FIRE PROTECTION VALVES | GIACOMINI ''A56 | FIRE HOSE ANGLE VALVE |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
FIRE PROTECTION VALVES | GIACOMINI '' A7AB | FOG NOZZLE |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
FIRE PROTECTION VALVES |  | FIRE HOSE SINGLE DOUBLE JACKET 50FT / 100FT |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
FIRE PROTECTION VALVES |  | FLOW SWITCH SYSTEM |  | china |  | 4800 | 7200 | 6240 | 6240 | 5760 | 5520 | 5280
EXTINGUISHER |  |  |  | 10LBS ABC Dry Chemical - Red ( REFILL ONLY ) |  | 280 | 420 | 364 | 364 | 336 | 322 | 308
EXTINGUISHER | HFC |  | HFC 236 | 10LBS HFC 236 - Brand New |  | 7500 | 11250 | 9750 | 9750 | 9000 | 8625 | 8250
EXTINGUISHER |  |  | HFC 236 | 20LBS HFC 236 - Brand New |  |  | 0 | 0 | 0 | 0 | 0 | 0
EXTINGUISHER |  |  | HFC 236 | 10LBS HFC 236 - ( REFILL ONLY ) |  | 3500 | 5250 | 4550 | 4550 | 4200 | 4025 | 3850
EXTINGUISHER |  |  | HFC 236 | 20LBS HFC 236 - ( REFILL ONLY ) |  |  | 0 | 0 | 0 | 0 | 0 | 0
EXTINGUISHER |  |  | HCFC 123 | 10LBS HCFC 123 - Brand New |  | 4200 | 6300 | 5460 | 5460 | 5040 | 4830 | 4620
EXTINGUISHER |  |  | HCFC 123 | 20LBS HCFC 123 - Brand New |  | 12000 | 18000 | 15600 | 15600 | 14400 | 13800 | 13200
EXTINGUISHER |  |  | HCFC 123 | 10LBS HCFC 123 - ( REFILL ONLY ) |  | 2200 | 3300 | 2860 | 2860 | 2640 | 2530 | 2420
EXTINGUISHER |  |  | HCFC 123 | 20LBS HCFC 123 - ( REFILL ONLY ) |  | 7000 | 10500 | 9100 | 9100 | 8400 | 8050 | 7700
EXTINGUISHER |  |  |  | 50 lbs Wheeled Type Fire Extinguisher HCFC-123 |  | 7500 | 11250 | 9750 | 9750 | 9000 | 8625 | 8250
EXTINGUISHER |  |  |  | Wheeled Type Fire Extinguisher HCFC-123 per Pound |  | 150 | 225 | 195 | 195 | 180 | 172.5 | 165
EXTINGUISHER |  |  |  | Fog Nozzle 1 1/2 - |  | 1600 | 2400 | 2080 | 2080 | 1920 | 1840 | 1760
EXTINGUISHER |  |  |  | Fire Extinguisher 10 lbs |  | 1500 | 2250 | 1950 | 1950 | 1800 | 1725 | 1650
EXTINGUISHER | GIACOMINI |  |  | FIREHOSE GATEVALVE 2 1/2 |  | 4500 | 6750 | 5850 | 5850 | 5400 | 5175 | 4950
EXTINGUISHER |  |  |  | SET OF FIRE HOSE CABINET W/ COMPLATE ACCSESSORIES |  | 9000 | 13500 | 11700 | 11700 | 10800 | 10350 | 9900
EXTINGUISHER | ORENA | FIRE EXTINGUISHER | MQB/K100 | Portable BCEF Fire Extinguisher (Effective discharge distance 2m, extinguishing performance 8B 5F with 100g agent and 4 years service life. Excellent fire extinguishing efficiency, safe and reliable, non-toxic and harmless, without any pollution to the environment) | From International - Pls consider the shipping cost to be incurred | 19.25 | 28.875 | 25.025 | 25.025 | 23.1 | 22.1375 | 21.175
EXTINGUISHER | ORENA | FIRE EXTINGUISHER | MFJ-130 | Portable ABCEF Fire Extinguisher (Effective discharge distance 2m, extinguishing performance 13B with 130g agent and 4 years service life. Excellent fire extinguishing efficiency, safe and reliable, non-toxic and harmless, without any pollution to the environment) | From International - Pls consider the shipping cost to be incurred | 26.83 | 40.245 | 34.879 | 34.879 | 32.196 | 30.8545 | 29.513
EXTINGUISHER | ORENA | FIRE EXTINGUISHER | MQB/K600 | Portable BCEF Fire Extinguisher (Effective discharge distance 3m, extinguishing performance 55B with 600g agent and 4 years service life. Excellent fire extinguishing efficiency, safe and reliable, non-toxic and harmless, without any pollution to the environment) | From International - Pls consider the shipping cost to be incurred | 88.2 | 132.3 | 114.66 | 114.66 | 105.84 | 101.43 | 97.02
EXTINGUISHER | ORENA | FIRE EXTINGUISHER | AFG-01 | Fire Extinguisher Ball dry powder ABC (Automatically extinguish the fire effectively and rapidly after throw into or rolling to fire, and make huge noise to catch everyone's attention nearby. The action time is within 3-5 seconds by flame temperature reaching 70℃. Diameter 15cm, Weight: 1.3 Kg) | From International - Pls consider the shipping cost to be incurred | 12.56 | 18.84 | 16.328 | 16.328 | 15.072 | 14.444 | 13.816
EXTINGUISHER | ORENA | FIRE EXTINGUISHER | QRR0.01GW/S | Automatic Fire Extinguishing Sticker in Engine or Battery compartment (Activate at 170°C, protection space 0.2m3, with 10g agent and 10 years service life. Excellent fire extinguishing efficiency, safe and reliable, nontoxic and harmless to people and equipment, without any pollution to the environment) | From International - Pls consider the shipping cost to be incurred | 15.75 | 23.625 | 20.475 | 20.475 | 18.9 | 18.1125 | 17.325
EXTINGUISHER | ORENA | FIRE EXTINGUISHER | QRR0.02GW/S | Automatic Fire Extinguishing Sticker in Engine or Battery compartment (Activate at 170°C, protection space 0.4m3, with 20g agent and 10 years service life. Excellent fire extinguishing efficiency, safe and reliable, non-toxic and harmless to people and equipment, without any pollution to the environment) | From International - Pls consider the shipping cost to be incurred | 21.65 | 32.475 | 28.145 | 28.145 | 25.98 | 24.8975 | 23.815
EXTINGUISHER | ORENA | FIRE EXTINGUISHER | QRR0.1G/S | Automatic Aerosol Fire Extinguishing Device (Activate at 170°C or control signal from other devices, protection space 1m3, with 100g agent and 6 years service life. Excellent fire extinguishing efficiency, no need for pipe network and high pressure storage, safe and reliable, non-toxic and harmless to people and equipment, without any pollution to the environment) | From International - Pls consider the shipping cost to be incurred | 78.75 | 118.125 | 102.375 | 102.375 | 94.5 | 90.5625 | 86.625
EXTINGUISHER | ORENA | FIRE EXTINGUISHER | QRR0.3G/S | Automatic Aerosol Fire Extinguishing Device (Activate at 170°C or control signal from other devices, protection space 3m3, with 300g agent and 6 years service life. Excellent fire extinguishing efficiency, no need for pipe network and high pressure storage, safe and reliable, non-toxic and harmless to people and equipment, without any pollution to the environment) | From International - Pls consider the shipping cost to be incurred | 118.11 | 177.165 | 153.543 | 153.543 | 141.732 | 135.8265 | 129.921
EXTINGUISHER | ORENA | FIRE EXTINGUISHER | QRR3.0G/S | Automatic Aerosol Fire Extinguishing Device (Activate at 170°C or control signal from other devices, protection space 30m3, with 3000g agent and 6 years service life. Excellent fire extinguishing efficiency, no need for pipe network and high pressure storage, safe and reliable, non-toxic and harmless to people and equipment, without any pollution to the environment) | From International - Pls consider the shipping cost to be incurred | 472.5 | 708.75 | 614.25 | 614.25 | 567 | 543.375 | 519.75
EXTINGUISHER | ORENA | FIRE EXTINGUISHER | M20S | Automatic Fire Extinguishing Sticker in Cabinet (Ultra-thin size, Activate at 170°C, protection space 0.15m3, with 20g agent and 3 years service life. Excellent fire extinguishing efficiency, safe and reliable, non-toxic and harmless to people and equipment, without any pollution to the environment) | From International - Pls consider the shipping cost to be incurred | 48.25 | 72.375 | 62.725 | 62.725 | 57.9 | 55.4875 | 53.075
EXTINGUISHER | ORENA | FIRE EXTINGUISHER | M20M | Automatic Fire Extinguishing Sticker in Cabinet (Ultra-thin size, Activate at 170°C, protection space 0.3m3, with 40g agent and 3 years service life. Excellent fire extinguishing efficiency, safe and reliable, non-toxic and harmless to people and equipment, without any pollution to the environment) | From International - Pls consider the shipping cost to be incurred | 93.38 | 140.07 | 121.394 | 121.394 | 112.056 | 107.387 | 102.718
EXTINGUISHER |  | Fire Extinguishing Control System | ODM04 | Conventional Fire Extingusher Control Panel (4 detection zone, 1 area fire fighting output, LED display delay timer, manual/automatic/enable keys for operating, manual release/hold button, fire/fault/extract relay output, gas low pressure detection, w/o battery) | From International - Pls consider the shipping cost to be incurred | 388.62 | 582.93 | 505.206 | 505.206 | 466.344 | 446.913 | 427.482
EXTINGUISHER |  | Fire Extinguishing Control System | QT115 | Emergency Manual Release Station (With START, STOP, RESTORE button and protection cover) | From International - Pls consider the shipping cost to be incurred | 13.23 | 19.845 | 17.199 | 17.199 | 15.876 | 15.2145 | 14.553
EXTINGUISHER |  | Fire Extinguishing Control System | WH116 | Maintenance Switch (Shift MANU/AUTO mode, inactive system in maintenance mode) | From International - Pls consider the shipping cost to be incurred | 23.62 | 35.43 | 30.706 | 30.706 | 28.344 | 27.163 | 25.982
EXTINGUISHER |  | Fire Extinguishing Control System | FQ119 | Gas Releasing Lamp (Provide warning of gas releasing to prevent personnel from entering, 24Vdc operated) | From International - Pls consider the shipping cost to be incurred | 26.77 | 40.155 | 34.801 | 34.801 | 32.124 | 30.7855 | 29.447
SPRINKLER | GLOBE | SPRINKLER |  | Recessed Pendent 1/2" NPT K 8.0 IMP 155 deg. F Chrome plated | Pendent 1/2 w/plate (red) 5.6 K Factor | 180 | 270 | 234 | 234 | 216 | 207 | 198
SPRINKLER |  | SPRINKLER HEAD GUARD |  | SIZE 1/2 COLOR RED |  | 180 | 270 | 234 | 234 | 216 | 207 | 198
SPRINKLER |  | PROTECTOR | Protector horizontal extended sidewallhead | standard response 155'f, 3/4'' NPT ,1/2 ORIF , CHROME FINISH 8.1 K FACTOR |  | 737 | 1105.5 | 958.1 | 958.1 | 884.4 | 847.55 | 810.7
SPRINKLER |  | VICTUALIC | Up-right sprinkler head | Standard response 11.2k factor UL/FM , BULB TYPE 155'F , Chrome finish 3/4 NPT 1/2 orif . |  | 600 | 900 | 780 | 780 | 720 | 690 | 660
SPRINKLER |  |  |  | SPRINKLER HEAD GUARD |  | 180 | 270 | 234 | 234 | 216 | 207 | 198
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SPB1-U1/2 | Upright Sprinkler 1/2 |  | 91.93 | 137.895 | 119.509 | 119.509 | 110.316 | 105.7195 | 101.123
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SPB1-U3/4 | Upright Sprinkler 3/4 |  | 110.31 | 165.465 | 143.403 | 143.403 | 132.372 | 126.8565 | 121.341
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SPB1-D1/2 | Pendant Sprinkler 1/2 |  | 91.93 | 137.895 | 119.509 | 119.509 | 110.316 | 105.7195 | 101.123
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SPB1-D3/4 | Pendant Sprinkler 3/4 |  | 110.31 | 165.465 | 143.403 | 143.403 | 132.372 | 126.8565 | 121.341
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SPB1-H1/2 | Horizontal Sprinkler 1/2 |  | 91.93 | 137.895 | 119.509 | 119.509 | 110.316 | 105.7195 | 101.123
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SPB1-H3/4 | Horizontal Sprinkler 3/4 |  | 110.31 | 165.465 | 143.403 | 143.403 | 132.372 | 126.8565 | 121.341
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SP-H3/4 | Escutcheon Plate Chrome Finished |  | 36.77 | 55.155 | 47.801 | 47.801 | 44.124 | 42.2855 | 40.447
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SP-H3/5 | Escutcheon Plate White Finished |  | 36.77 | 55.155 | 47.801 | 47.801 | 44.124 | 42.2855 | 40.447
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SP-H3/6 | Decorative Plate Chrome Finished |  | 45.96 | 68.94 | 59.748 | 59.748 | 55.152 | 52.854 | 50.556
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SP-H3/7 | Decorative Plate White Finished |  | 45.96 | 68.94 | 59.748 | 59.748 | 55.152 | 52.854 | 50.556
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SDP1-1/2 | Single Decorative Plate Chrome Finished 1/2 |  | 18.39 | 27.585 | 23.907 | 23.907 | 22.068 | 21.1485 | 20.229
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SDP1-3/4 | Single Decorative Plate Chrome Finished 3/4 |  | 18.39 | 27.585 | 23.907 | 23.907 | 22.068 | 21.1485 | 20.229
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SDP2-1/2 | Single Decorative Plate Chrome Finished 1/2 |  | 18.39 | 27.585 | 23.907 | 23.907 | 22.068 | 21.1485 | 20.229
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SDP2-3.4 | Single Decorative Plate Chrome Finished 3/4 |  | 18.39 | 27.585 | 23.907 | 23.907 | 22.068 | 21.1485 | 20.229
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SDP3-1/2 | Single Decorative Plate Chrome Finished 1/2 |  | 18.39 | 27.585 | 23.907 | 23.907 | 22.068 | 21.1485 | 20.229
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SDP3-3/4 | Single Decorative Plate Chrome Finished 3/4 |  | 18.39 | 27.585 | 23.907 | 23.907 | 22.068 | 21.1485 | 20.229
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SDP415-1/2 | Double Decorative Plate Chrome Finished 1/2 |  | 18.39 | 27.585 | 23.907 | 23.907 | 22.068 | 21.1485 | 20.229
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SDP415-3/4 | Double Decorative Plate Chrome Finished 3/4 |  | 18.39 | 27.585 | 23.907 | 23.907 | 22.068 | 21.1485 | 20.229
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SDP420-1/2 | Double Decorative Plate Chrome Finished 1/2 |  | 18.39 | 27.585 | 23.907 | 23.907 | 22.068 | 21.1485 | 20.229
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SDP420-3/4 | Double Decorative Plate Chrome Finished 3/4 |  | 18.39 | 27.585 | 23.907 | 23.907 | 22.068 | 21.1485 | 20.229
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SDP5-1/2 | Fire Sprinkler Protective 1/2 |  | 55.16 | 82.74 | 71.708 | 71.708 | 66.192 | 63.434 | 60.676
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-SDP6-1/2 | Fire Sprinkler Protective 1/2 |  | 59.75 | 89.625 | 77.675 | 77.675 | 71.7 | 68.7125 | 65.725
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-ESP1-3/4 | ESFR Sprinkler Head 3/4 (Brass) |  | 367.71 | 551.565 | 478.023 | 478.023 | 441.252 | 422.8665 | 404.481
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-ESP1-1 | ESFR Sprinkler Head 1 (Brass |  | 551.57 | 827.355 | 717.041 | 717.041 | 661.884 | 634.3055 | 606.727
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-ESP2-3/4 | ESFR Sprinkler Head 3/4 (Bra |  | 367.71 | 551.565 | 478.023 | 478.023 | 441.252 | 422.8665 | 404.481
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-ESP2-1 | ESFR Sprinkler Head 1 (Brass) |  | 551.57 | 827.355 | 717.041 | 717.041 | 661.884 | 634.3055 | 606.727
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-PWSP1-1/2 | Pendent Water-Screen Sprinkler Head 1/2 |  | 91.93 | 137.895 | 119.509 | 119.509 | 110.316 | 105.7195 | 101.123
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-PWSP1-3/4 | Pendent Water-Screen Sprinkler Head 3/4 |  | 119.51 | 179.265 | 155.363 | 155.363 | 143.412 | 137.4365 | 131.461
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-HWSP1-1/2 | Horizontal Water-Screen Sprinkler Head 1/2 |  | 137.89 | 206.835 | 179.257 | 179.257 | 165.468 | 158.5735 | 151.679
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-HWSP1-3/4 | Horizontal Water-Screen Sprinkler Head 3/4 |  | 165.47 | 248.205 | 215.111 | 215.111 | 198.564 | 190.2905 | 182.017
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-WMSP1-1/2 | Water Mist Sprinker Head 1/2 |  | 137.89 | 206.835 | 179.257 | 179.257 | 165.468 | 158.5735 | 151.679
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-WMSP1-3/4 | Water Mist Sprinker Head 3/4 |  | 183.86 | 275.79 | 239.018 | 239.018 | 220.632 | 211.439 | 202.246
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-WMSP2-1/2 | Water Mist Sprinker Head 1/2 |  | 183.86 | 275.79 | 239.018 | 239.018 | 220.632 | 211.439 | 202.246
FIRE SUPPRESSION SYSTEM | ASENWARE |  | AW-WMSP2-3/4 | Water Mist Sprinker Head 3/4 |  | 229.82 | 344.73 | 298.766 | 298.766 | 275.784 | 264.293 | 252.802
VALVES | ASENWARE |  | AW-EWT25 | End Water-Test Equipment 1" |  | 919.29 | 1378.935 | 1195.077 | 1195.077 | 1103.148 | 1057.1835 | 1011.219
VALVES | ASENWARE |  | AW-AAV15 | Automatic Air Vent 1/2" |  | 413.68 | 620.52 | 537.784 | 537.784 | 496.416 | 475.732 | 455.048
VALVES | ASENWARE |  | AW-AAV20 | Automatic Air Vent 3/4" |  | 505.61 | 758.415 | 657.293 | 657.293 | 606.732 | 581.4515 | 556.171
VALVES | ASENWARE |  | AW-AAV25 | Automatic Air Vent 1" |  | 551.57 | 827.355 | 717.041 | 717.041 | 661.884 | 634.3055 | 606.727
VALVES | ASENWARE |  | AW-PG | Pressure Gauge |  | 229.82 | 344.73 | 298.766 | 298.766 | 275.784 | 264.293 | 252.802
VALVES | ASENWARE |  | AW-PS25 | Fire Pressure Switch 1" |  | 459.64 | 689.46 | 597.532 | 597.532 | 551.568 | 528.586 | 505.604
VALVES | ASENWARE |  | AW-TBV15 | Threaded Ball Valve 1/2" |  | 183.86 | 275.79 | 239.018 | 239.018 | 220.632 | 211.439 | 202.246
VALVES | ASENWARE |  | AW-TBV20 | Threaded Ball Valve 3/4" |  | 257.4 | 386.1 | 334.62 | 334.62 | 308.88 | 296.01 | 283.14
VALVES | ASENWARE |  | AW-TBV25 | Threaded Ball Valve 1" |  | 413.68 | 620.52 | 537.784 | 537.784 | 496.416 | 475.732 | 455.048
VALVES | ASENWARE |  | AW-TBV32 | Threaded Ball Valve 1.2" |  | 533.19 | 799.785 | 693.147 | 693.147 | 639.828 | 613.1685 | 586.509
VALVES | ASENWARE |  | AW-TBV40 | Threaded Ball Valve 1.5" |  | 790.59 | 1185.885 | 1027.767 | 1027.767 | 948.708 | 909.1785 | 869.649
VALVES | ASENWARE |  | AW-TBV50 | Threaded Ball Valve 2" |  | 1470.86 | 2206.29 | 1912.118 | 1912.118 | 1765.032 | 1691.489 | 1617.946
VALVES | ASENWARE |  | AW-FBV15 | Flange Ball Valve 1/2" |  | 2665.93 | 3998.895 | 3465.709 | 3465.709 | 3199.116 | 3065.8195 | 2932.523
VALVES | ASENWARE |  | AW-FBV20 | AW-FBV20 Flange Ball Valve 3/4" |  | 3125.57 | 4688.355 | 4063.241 | 4063.241 | 3750.684 | 3594.4055 | 3438.127
VALVES | ASENWARE |  | AW-FBV25 | Flange Ball Valve 1" |  | 3309.43 | 4964.145 | 4302.259 | 4302.259 | 3971.316 | 3805.8445 | 3640.373
VALVES | ASENWARE |  | AW-FBV32 | Flange Ball Valve 1.2" |  | 4872.21 | 7308.315 | 6333.873 | 6333.873 | 5846.652 | 5603.0415 | 5359.431
VALVES | ASENWARE |  | AW-FBV40 | Flange Ball Valve 1.5" |  | 6067.29 | 9100.935 | 7887.477 | 7887.477 | 7280.748 | 6977.3835 | 6674.019
VALVES | ASENWARE |  | AW-FBV50 | Flange Ball Valve 2" |  | 7262.36 | 10893.54 | 9441.068 | 9441.068 | 8714.832 | 8351.714 | 7988.596
VALVES | ASENWARE |  | AW-FBV65 | Flange Ball Valve 2.5" |  | 12134.57 | 18201.855 | 15774.941 | 15774.941 | 14561.484 | 13954.7555 | 13348.027
VALVES | ASENWARE |  | AW-FBV80 | Flange Ball Valve 3" |  | 16363.29 | 24544.935 | 21272.277 | 21272.277 | 19635.948 | 18817.7835 | 17999.619
VALVES | ASENWARE |  | AW-FBV100 | Flange Ball Valve 4" |  | 20500.07 | 30750.105 | 26650.091 | 26650.091 | 24600.084 | 23575.0805 | 22550.077
VALVES | ASENWARE |  | AW-FBV125 | Flange Ball Valve 5" |  | 37323 | 55984.5 | 48519.9 | 48519.9 | 44787.6 | 42921.45 | 41055.3
VALVES | ASENWARE |  | AW-FBV150 | Flange Ball Valve 6" |  | 50376.86 | 75565.29 | 65489.918 | 65489.918 | 60452.232 | 57933.389 | 55414.546
VALVES | ASENWARE |  | AW-TGV15 | Threaded Gate Valve 1/2" |  | 266.59 | 399.885 | 346.567 | 346.567 | 319.908 | 306.5785 | 293.249
VALVES | ASENWARE |  | AW-TGV20 | Threaded Gate Valve 3/4" |  | 330.94 | 496.41 | 430.222 | 430.222 | 397.128 | 380.581 | 364.034
VALVES | ASENWARE |  | AW-TGV25 | Threaded Gate Valve 1" |  | 505.61 | 758.415 | 657.293 | 657.293 | 606.732 | 581.4515 | 556.171
VALVES | ASENWARE |  | AW-TGV32 | Threaded Gate Valve 1.2" |  | 606.73 | 910.095 | 788.749 | 788.749 | 728.076 | 697.7395 | 667.403
VALVES | ASENWARE |  | AW-TGV40 | Threaded Gate Valve 1.5" |  | 818.16 | 1227.24 | 1063.608 | 1063.608 | 981.792 | 940.884 | 899.976
VALVES | ASENWARE |  | AW-TGV50 | Threaded Gate Valve 2" |  | 919.29 | 1378.935 | 1195.077 | 1195.077 | 1103.148 | 1057.1835 | 1011.219
VALVES | ASENWARE |  | AW-WFI50 | Water Flow Indicator (Saddle Type) 2" |  | 569.96 | 854.94 | 740.948 | 740.948 | 683.952 | 655.454 | 626.956
VALVES | ASENWARE |  | AW-WFI65 | Water Flow Indicator (Saddle Type) 2.5" |  | 597.54 | 896.31 | 776.802 | 776.802 | 717.048 | 687.171 | 657.294
VALVES | ASENWARE |  | AW-WFI80 | Water Flow Indicator (Saddle Type) 3" |  | 625.11 | 937.665 | 812.643 | 812.643 | 750.132 | 718.8765 | 687.621
VALVES | ASENWARE |  | AW-WFI100 | Water Flow Indicator (Saddle Type) 4" |  | 689.46 | 1034.19 | 896.298 | 896.298 | 827.352 | 792.879 | 758.406
VALVES | ASENWARE |  | AW-WFI125 | Water Flow Indicator (Saddle Type) 5" |  | 717.04 | 1075.56 | 932.152 | 932.152 | 860.448 | 824.596 | 788.744
VALVES | ASENWARE |  | AW-WFI150 | Water Flow Indicator (Saddle Type) 6" |  | 735.43 | 1103.145 | 956.059 | 956.059 | 882.516 | 845.7445 | 808.973
VALVES | ASENWARE |  | AW-WFI200 | Water Flow Indicator (Saddle Type) 8" |  | 1332.96 | 1999.44 | 1732.848 | 1732.848 | 1599.552 | 1532.904 | 1466.256
VALVES | ASENWARE |  | AW-WAV80 | Wet System Alarm Valve 3" |  | 10296 | 15444 | 13384.8 | 13384.8 | 12355.2 | 11840.4 | 11325.6
VALVES | ASENWARE |  | AW-WAV100 | Wet System Alarm Valve 4" |  | 10479.86 | 15719.79 | 13623.818 | 13623.818 | 12575.832 | 12051.839 | 11527.846
VALVES | ASENWARE |  | AW-WAV125 | Wet System Alarm Valve 5" |  | 10847.57 | 16271.355 | 14101.841 | 14101.841 | 13017.084 | 12474.7055 | 11932.327
VALVES | ASENWARE |  | AW-WAV150 | Wet System Alarm Valve 6" |  | 11491.07 | 17236.605 | 14938.391 | 14938.391 | 13789.284 | 13214.7305 | 12640.177
VALVES | ASENWARE |  | AW-WAV200 | Wet System Alarm Valve 8" |  | 20040.43 | 30060.645 | 26052.559 | 26052.559 | 24048.516 | 23046.4945 | 22044.473
VALVES | ASENWARE |  | AW-DV65 | Deluge Valve (Diaphragm Type) 2.5" |  | 18385.71 | 27578.565 | 23901.423 | 23901.423 | 22062.852 | 21143.5665 | 20224.281
VALVES | ASENWARE |  | AW-DV80 | Deluge Valve (Diaphragm Type) 3" |  | 19488.86 | 29233.29 | 25335.518 | 25335.518 | 23386.632 | 22412.189 | 21437.746
VALVES | ASENWARE |  | AW-DV100 | Deluge Valve (Diaphragm Type) 4" |  | 20316.21 | 30474.315 | 26411.073 | 26411.073 | 24379.452 | 23363.6415 | 22347.831
VALVES | ASENWARE |  | AW-DV125 | Deluge Valve (Diaphragm Type) 5" |  | 21511.29 | 32266.935 | 27964.677 | 27964.677 | 25813.548 | 24737.9835 | 23662.419
VALVES | ASENWARE |  | AW-DV150 | Deluge Valve (Diaphragm Type) 6" |  | 22522.5 | 33783.75 | 29279.25 | 29279.25 | 27027 | 25900.875 | 24774.75
VALVES | ASENWARE |  | AW-DV200 | Deluge Valve (Diaphragm Type) 8" |  | 34105.5 | 51158.25 | 44337.15 | 44337.15 | 40926.6 | 39221.325 | 37516.05
VALVES | ASENWARE |  | AW-WVDV100 | Pre Action Alarm Valve 4" |  | 32634.64 | 48951.96 | 42425.032 | 42425.032 | 39161.568 | 37529.836 | 35898.104
VALVES | ASENWARE |  | AW-WVDV150 | Pre Action Alarm Valve 6" |  | 36771.43 | 55157.145 | 47802.859 | 47802.859 | 44125.716 | 42287.1445 | 40448.573
VALVES | ASENWARE |  | AW-WVDV200 | Pre Action Alarm Valve 8" |  | 62327.57 | 93491.355 | 81025.841 | 81025.841 | 74793.084 | 71676.7055 | 68560.327
VALVES | ASENWARE |  | AW-PRV50 | Pressure Reducing Valve 2" |  | 7905.86 | 11858.79 | 10277.618 | 10277.618 | 9487.032 | 9091.739 | 8696.446
VALVES | ASENWARE |  | AW-PRV65 | Pressure Reducing Valve 2.5" |  | 8733.21 | 13099.815 | 11353.173 | 11353.173 | 10479.852 | 10043.1915 | 9606.531
VALVES | ASENWARE |  | AW-PRV80 | Pressure Reducing Valve 3" |  | 9192.86 | 13789.29 | 11950.718 | 11950.718 | 11031.432 | 10571.789 | 10112.146
VALVES | ASENWARE |  | AW-PRV100 | Pressure Reducing Valve 4" |  | 10571.79 | 15857.685 | 13743.327 | 13743.327 | 12686.148 | 12157.5585 | 11628.969
VALVES | ASENWARE |  | AW-PRV125 | Pressure Reducing Valve 5" |  | 11491.07 | 17236.605 | 14938.391 | 14938.391 | 13789.284 | 13214.7305 | 12640.177
VALVES | ASENWARE |  | AW-PRV150 | Pressure Reducing Valve 6" |  | 13145.79 | 19718.685 | 17089.527 | 17089.527 | 15774.948 | 15117.6585 | 14460.369
VALVES | ASENWARE |  | AW-PRV200 | Pressure Reducing Valve 8" |  | 17098.7 | 25648.05 | 22228.31 | 22228.31 | 20518.44 | 19663.505 | 18808.57
VALVES | ASENWARE |  | AW-PRV15 | Pressure Reducing Valve 1/2 |  | 229.82 | 344.73 | 298.766 | 298.766 | 275.784 | 264.293 | 252.802
VALVES | ASENWARE |  | AW-PRV20 | Pressure Reducing Valve 3/4 |  | 275.79 | 413.685 | 358.527 | 358.527 | 330.948 | 317.1585 | 303.369
VALVES | ASENWARE |  | AW-PRV25 | Pressure Reducing Valve 1" |  | 367.71 | 551.565 | 478.023 | 478.023 | 441.252 | 422.8665 | 404.481
VALVES | ASENWARE |  | AW-PRV32 | Pressure Reducing Valve 1.2" |  | 597.54 | 896.31 | 776.802 | 776.802 | 717.048 | 687.171 | 657.294
VALVES | ASENWARE |  | AW-PRV40 | Pressure Reducing Valve 1.5" |  | 1011.21 | 1516.815 | 1314.573 | 1314.573 | 1213.452 | 1162.8915 | 1112.331
VALVES | ASENWARE |  | AW-PRV50 | Pressure Reducing Valve 2" |  | 1378.93 | 2068.395 | 1792.609 | 1792.609 | 1654.716 | 1585.7695 | 1516.823
VALVES | ASENWARE |  | AW-PRV65 | Pressure Reducing Valve 2.5" |  | 3493.29 | 5239.935 | 4541.277 | 4541.277 | 4191.948 | 4017.2835 | 3842.619
VALVES | ASENWARE |  | AW-MRV50 | Main Relief Valve 2" |  | 7905.8 | 11858.7 | 10277.54 | 10277.54 | 9486.96 | 9091.67 | 8696.38
VALVES | ASENWARE |  | AW-MRV65 | Main Relief Valve 2.5" |  | 8733.21 | 13099.815 | 11353.173 | 11353.173 | 10479.852 | 10043.1915 | 9606.531
VALVES | ASENWARE |  | AW-MRV80 | Main Relief Valve 3" |  | 9192.86 | 13789.29 | 11950.718 | 11950.718 | 11031.432 | 10571.789 | 10112.146
VALVES | ASENWARE |  | AW-MRV100 | Main Relief Valve 4" |  | 10571.7 | 15857.55 | 13743.21 | 13743.21 | 12686.04 | 12157.455 | 11628.87
VALVES | ASENWARE |  | AW-MRV125 | Main Relief Valve 5" |  | 11491.07 | 17236.605 | 14938.391 | 14938.391 | 13789.284 | 13214.7305 | 12640.177
VALVES | ASENWARE |  | AW-MRV150 | Main Relief Valve 6" |  | 13145.79 | 19718.685 | 17089.527 | 17089.527 | 15774.948 | 15117.6585 | 14460.369
VALVES | ASENWARE |  | AW-MRV200 | Main Relief Valve 8" |  | 17098.71 | 25648.065 | 22228.323 | 22228.323 | 20518.452 | 19663.5165 | 18808.581
VALVES | ASENWARE |  | AW-BSV50 | Butterfly Valve 2" |  | 1746.64 | 2619.96 | 2270.632 | 2270.632 | 2095.968 | 2008.636 | 1921.304
VALVES | ASENWARE |  | AW-BSV65 | Butterfly Valve 2.5" |  | 1792.61 | 2688.915 | 2330.393 | 2330.393 | 2151.132 | 2061.5015 | 1971.871
VALVES | ASENWARE |  | AW-BSV80 | Butterfly Valve 3" |  | 2160.32 | 3240.48 | 2808.416 | 2808.416 | 2592.384 | 2484.368 | 2376.352
VALVES | ASENWARE |  | AW-BSV100 | Butterfly Valve 4" |  | 2482 | 3723 | 3226.6 | 3226.6 | 2978.4 | 2854.3 | 2730.2
VALVES | ASENWARE |  | AW-BSV125 | Butterfly Valve 5" |  | 2574 | 3861 | 3346.2 | 3346.2 | 3088.8 | 2960.1 | 2831.4
VALVES | ASENWARE |  | AW-BSV150 | Butterfly Valve 6" |  | 3263.46 | 4895.19 | 4242.498 | 4242.498 | 3916.152 | 3752.979 | 3589.806
VALVES | ASENWARE |  | AW-BSV200 | Butterfly Valve 8" |  | 5745.54 | 8618.31 | 7469.202 | 7469.202 | 6894.648 | 6607.371 | 6320.094
VALVES | ASENWARE |  | AW-BV50 | Butterfly Valve 2" |  | 1608.7 | 2413.05 | 2091.31 | 2091.31 | 1930.44 | 1850.005 | 1769.57
VALVES | ASENWARE |  | AW-BV65 | Butterfly Valve 2.5" |  | 1746.64 | 2619.96 | 2270.632 | 2270.632 | 2095.968 | 2008.636 | 1921.304
VALVES | ASENWARE |  | AW-BV80 | Butterfly Valve 3" |  | 1838.57 | 2757.855 | 2390.141 | 2390.141 | 2206.284 | 2114.3555 | 2022.427
VALVES | ASENWARE |  | AW-BV100 | Check Valve 4" |  | 2160.32 | 3240.48 | 2808.416 | 2808.416 | 2592.384 | 2484.368 | 2376.352
VALVES | ASENWARE |  | AW-BV125 | Butterfly Valve 5" |  | 2574 | 3861 | 3346.2 | 3346.2 | 3088.8 | 2960.1 | 2831.4
VALVES | ASENWARE |  | AW-BV150 | Butterfly Valve 6" |  | 2757.86 | 4136.79 | 3585.218 | 3585.218 | 3309.432 | 3171.539 | 3033.646
VALVES | ASENWARE |  | AW-BV200 | Butterfly Valve 8" |  | 5331.86 | 7997.79 | 6931.418 | 6931.418 | 6398.232 | 6131.639 | 5865.046
VALVES | ASENWARE |  | AW-SCV50 | Silent Check Valve 2" |  | 1930.5 | 2895.75 | 2509.65 | 2509.65 | 2316.6 | 2220.075 | 2123.55
VALVES | ASENWARE |  | AW-SCV65 | Silent Check Valve 2.5" |  | 2252.25 | 3378.375 | 2927.925 | 2927.925 | 2702.7 | 2590.0875 | 2477.475
VALVES | ASENWARE |  | AW-SCV80 | Silent Check Valve 3" |  | 2665.93 | 3998.895 | 3465.709 | 3465.709 | 3199.116 | 3065.8195 | 2932.523
VALVES | ASENWARE |  | AW-SCV100 | Silent Check Valve 4" |  | 3125.57 | 4688.355 | 4063.241 | 4063.241 | 3750.684 | 3594.4055 | 3438.127
VALVES | ASENWARE |  | AW-SCV125 | Silent Check Valve 5" |  | 5010.11 | 7515.165 | 6513.143 | 6513.143 | 6012.132 | 5761.6265 | 5511.121
VALVES | ASENWARE |  | AW-SCV150 | Silent Check Valve 6" |  | 5423 | 8134.5 | 7049.9 | 7049.9 | 6507.6 | 6236.45 | 5965.3
VALVES | ASENWARE |  | AW-SCV200 | Silent Check Valve 8" |  | 7170.43 | 10755.645 | 9321.559 | 9321.559 | 8604.516 | 8245.9945 | 7887.473
VALVES | ASENWARE |  | AW-CV15 | Check Valve 1/2" |  | 275.79 | 413.685 | 358.527 | 358.527 | 330.948 | 317.1585 | 303.369
VALVES | ASENWARE |  | AW-CV20 | Check Valve 3/4" |  | 321.75 | 482.625 | 418.275 | 418.275 | 386.1 | 370.0125 | 353.925
VALVES | ASENWARE |  | AW-CV25 | Check Valve 1" |  | 349.33 | 523.995 | 454.129 | 454.129 | 419.196 | 401.7295 | 384.263
VALVES | ASENWARE |  | AW-CV32 | Check Valve 1.2" |  | 717.04 | 1075.56 | 932.152 | 932.152 | 860.448 | 824.596 | 788.744
VALVES | ASENWARE |  | AW-CV40 | Check Valve 1.5" |  | 827.36 | 1241.04 | 1075.568 | 1075.568 | 992.832 | 951.464 | 910.096
VALVES | ASENWARE |  | AW-CV50 | Check Valve 2" |  | 1241 | 1861.5 | 1613.3 | 1613.3 | 1489.2 | 1427.15 | 1365.1
VALVES | ASENWARE |  | AW-CV65 | Check Valve 2.5" |  | 2849.79 | 4274.685 | 3704.727 | 3704.727 | 3419.748 | 3277.2585 | 3134.769
VALVES | ASENWARE |  | AW-CV80 | Check Valve 3" |  | 4228.71 | 6343.065 | 5497.323 | 5497.323 | 5074.452 | 4863.0165 | 4651.581
VALVES | ASENWARE |  | AW-CV100 | Check Valve 4" |  | 6526.93 | 9790.395 | 8485.009 | 8485.009 | 7832.316 | 7505.9695 | 7179.623
VALVES | ASENWARE |  | AW-RCV50 | Rubber Disk Check Valve 2" |  | 4090.82 | 6136.23 | 5318.066 | 5318.066 | 4908.984 | 4704.443 | 4499.902
VALVES | ASENWARE |  | AW-RCV65 | Rubber Disk Check Valve 2.5" |  | 4320.64 | 6480.96 | 5616.832 | 5616.832 | 5184.768 | 4968.736 | 4752.704
VALVES | ASENWARE |  | AW-RCV80 | Rubber Disk Check Valve 3" |  | 4504.5 | 6756.75 | 5855.85 | 5855.85 | 5405.4 | 5180.175 | 4954.95
VALVES | ASENWARE |  | AW-RCV100 | Rubber Disk Check Valve 4" |  | 4596.43 | 6894.645 | 5975.359 | 5975.359 | 5515.716 | 5285.8945 | 5056.073
VALVES | ASENWARE |  | AW-RCV125 | Rubber Disk Check Valve 5" |  | 7170.43 | 10755.645 | 9321.559 | 9321.559 | 8604.516 | 8245.9945 | 7887.473
VALVES | ASENWARE |  | AW-RCV150 | Rubber Disk Check Valve 6" |  | 7767.9 | 11651.85 | 10098.27 | 10098.27 | 9321.48 | 8933.085 | 8544.69
VALVES | ASENWARE |  | AW-RCV200 | Rubber Disk Check Valve 8" |  | 10663.7 | 15995.55 | 13862.81 | 13862.81 | 12796.44 | 12263.255 | 11730.07
VALVES | ASENWARE |  | AW-RCV250 | Rubber Disk Check Valve 9" |  | 26567 | 39850.5 | 34537.1 | 34537.1 | 31880.4 | 30552.05 | 29223.7
VALVES | ASENWARE |  | AW-RCV300 | Rubber Disk Check Valve 10" |  | 37874.57 | 56811.855 | 49236.941 | 49236.941 | 45449.484 | 43555.7555 | 41662.027
VALVES | ASENWARE |  | AW-OSYGV50 | OS&Y Gate Valve 2" |  | 3585.2 | 5377.8 | 4660.76 | 4660.76 | 4302.24 | 4122.98 | 3943.72
VALVES | ASENWARE |  | AW-OSYGV65 | OS&Y Gate Valve 2.5" |  | 3815.04 | 5722.56 | 4959.552 | 4959.552 | 4578.048 | 4387.296 | 4196.544
VALVES | ASENWARE |  | AW-OSYGV80 | OS&Y Gate Valve 3" |  | 3998.89 | 5998.335 | 5198.557 | 5198.557 | 4798.668 | 4598.7235 | 4398.779
VALVES | ASENWARE |  | AW-OSYGV100 | OS&Y Gate Valve 4" |  | 4780.29 | 7170.435 | 6214.377 | 6214.377 | 5736.348 | 5497.3335 | 5258.319
VALVES | ASENWARE |  | AW-OSYGV125 | OS&Y Gate Valve 5" |  | 6986.57 | 10479.855 | 9082.541 | 9082.541 | 8383.884 | 8034.5555 | 7685.227
VALVES | ASENWARE |  | AW-OSYGV150 | OS&Y Gate Valve 6" |  | 8595.32 | 12892.98 | 11173.916 | 11173.916 | 10314.384 | 9884.618 | 9454.852
VALVES | ASENWARE |  | AW-OSYGV200 | OS&Y Gate Valve 8" |  | 12318.4 | 18477.6 | 16013.92 | 16013.92 | 14782.08 | 14166.16 | 13550.24
VALVES | ASENWARE |  | AW-OSYGV250 | OS&Y Gate Valve 9" |  | 15995.57 | 23993.355 | 20794.241 | 20794.241 | 19194.684 | 18394.9055 | 17595.127
VALVES | ASENWARE |  | AW-SGV50 | Signal Gate Valve 2" |  | 3401.36 | 5102.04 | 4421.768 | 4421.768 | 4081.632 | 3911.564 | 3741.496
VALVES | ASENWARE |  | AW-SGV65 | Signal Gate Valve 2.5" |  | 3493.2 | 5239.8 | 4541.16 | 4541.16 | 4191.84 | 4017.18 | 3842.52
VALVES | ASENWARE |  | AW-SGV80 | Signal Gate Valve 3" |  | 4320.64 | 6480.96 | 5616.832 | 5616.832 | 5184.768 | 4968.736 | 4752.704
VALVES | ASENWARE |  | AW-SGV100 | Signal Gate Valve 4" |  | 4596.43 | 6894.645 | 5975.359 | 5975.359 | 5515.716 | 5285.8945 | 5056.073
VALVES | ASENWARE |  | AW-SGV150 | Signal Gate Valve 6" |  | 8273.5 | 12410.25 | 10755.55 | 10755.55 | 9928.2 | 9514.525 | 9100.85
VALVES | ASENWARE |  | AW-SGV200 | Signal Gate Valve 8" |  | 13973.14 | 20959.71 | 18165.082 | 18165.082 | 16767.768 | 16069.111 | 15370.454
VALVES | ASENWARE |  | AW-NRGV50 | Y-Strainer 2" |  | 2574 | 3861 | 3346.2 | 3346.2 | 3088.8 | 2960.1 | 2831.4
VALVES | ASENWARE |  | AW-NRGV65 | Y-Strainer 2.5" |  | 2757.86 | 4136.79 | 3585.218 | 3585.218 | 3309.432 | 3171.539 | 3033.646
VALVES | ASENWARE |  | AW-NRGV80 | Y-Strainer 3" |  | 4504.5 | 6756.75 | 5855.85 | 5855.85 | 5405.4 | 5180.175 | 4954.95
VALVES | ASENWARE |  | AW-NRGV100 | Y-Strainer 4" |  | 4780.29 | 7170.435 | 6214.377 | 6214.377 | 5736.348 | 5497.3335 | 5258.319
VALVES | ASENWARE |  | AW-NRGV125 | Y-Strainer 5" |  | 7262.36 | 10893.54 | 9441.068 | 9441.068 | 8714.832 | 8351.714 | 7988.596
VALVES | ASENWARE |  | AW-NRGV150 | Y-Strainer 6" |  | 7538.14 | 11307.21 | 9799.582 | 9799.582 | 9045.768 | 8668.861 | 8291.954
VALVES | ASENWARE |  | AW-NRGV200 | Y-Strainer 8" |  | 12870 | 19305 | 16731 | 16731 | 15444 | 14800.5 | 14157
VALVES | ASENWARE |  | AW-FL50 | Flow Meter 2" |  | 54973.2 | 82459.8 | 71465.16 | 71465.16 | 65967.84 | 63219.18 | 60470.52
VALVES | ASENWARE |  | AW-FL65 | Flow Meter 2.5" |  | 57363.43 | 86045.145 | 74572.459 | 74572.459 | 68836.116 | 65967.9445 | 63099.773
VALVES | ASENWARE |  | AW-FL80 | Flow Meter 3" |  | 62327.57 | 93491.355 | 81025.841 | 81025.841 | 74793.084 | 71676.7055 | 68560.327
VALVES | ASENWARE |  | AW-FL100 | Flow Meter 4" |  | 64533.86 | 96800.79 | 83894.018 | 83894.018 | 77440.632 | 74213.939 | 70987.246
VALVES | ASENWARE |  | AW-FL125 | Flow Meter 5" |  | 66924 | 100386 | 87001.2 | 87001.2 | 80308.8 | 76962.6 | 73616.4
VALVES | ASENWARE |  | AW-FL150 | Flow Meter 6" |  | 77679.64 | 116519.46 | 100983.532 | 100983.532 | 93215.568 | 89331.586 | 85447.604
VALVES | ASENWARE |  | AW-FL200 | Flow Meter 8" |  | 86045.14 | 129067.71 | 111858.682 | 111858.682 | 103254.168 | 98951.911 | 94649.654
VALVES | ASENWARE |  | AW-YS15 | Y-Strainer 1/2" |  | 183.86 | 275.79 | 239.018 | 239.018 | 220.632 | 211.439 | 202.246
VALVES | ASENWARE |  | AW-YS20 | Y-Strainer 3/4" |  | 349.33 | 523.995 | 454.129 | 454.129 | 419.196 | 401.7295 | 384.263
VALVES | ASENWARE |  | AW-YS32 | Y-Strainer 1.2" |  | 643.5 | 965.25 | 836.55 | 836.55 | 772.2 | 740.025 | 707.85
VALVES | ASENWARE |  | AW-YS40 | Y-Strainer 1.5" |  | 1057.18 | 1585.77 | 1374.334 | 1374.334 | 1268.616 | 1215.757 | 1162.898
VALVES | ASENWARE |  | AW-YS50 | Y-Strainer 2" |  | 1516.82 | 2275.23 | 1971.866 | 1971.866 | 1820.184 | 1744.343 | 1668.502
VALVES | ASENWARE |  | AW-YS65 | Y-Strainer 2.5" |  | 3401.36 | 5102.04 | 4421.768 | 4421.768 | 4081.632 | 3911.564 | 3741.496
VALVES | ASENWARE |  | AW-VV50 | Vent Valve 2" |  | 2022 | 3033 | 2628.6 | 2628.6 | 2426.4 | 2325.3 | 2224.2
VALVES | ASENWARE |  | AW-VV65 | Vent Valve 2.5" |  | 2849.7 | 4274.55 | 3704.61 | 3704.61 | 3419.64 | 3277.155 | 3134.67
VALVES | ASENWARE |  | AW-VV80 | Vent Valve 3" |  | 3309.43 | 4964.145 | 4302.259 | 4302.259 | 3971.316 | 3805.8445 | 3640.373
VALVES | ASENWARE |  | AW-VV100 | Vent Valve 4" |  | 3861 | 5791.5 | 5019.3 | 5019.3 | 4633.2 | 4440.15 | 4247.1
VALVES | ASENWARE |  | AW-VV125 | Vent Valve 5" |  | 7997.7 | 11996.55 | 10397.01 | 10397.01 | 9597.24 | 9197.355 | 8797.47
VALVES | ASENWARE |  | AW-VV150 | Vent Valve 6" |  | 9100.93 | 13651.395 | 11831.209 | 11831.209 | 10921.116 | 10466.0695 | 10011.023
VALVES | ASENWARE |  | AW-VV200 | Vent Valve 8" |  | 13789.29 | 20683.935 | 17926.077 | 17926.077 | 16547.148 | 15857.6835 | 15168.219
FIRE HOSE SYSTEM | ASENWARE |  | AW-FBC38 | Fire Brigade Connection Cabinet |  | 3378.38 | 5067.57 | 4391.894 | 4391.894 | 4054.056 | 3885.137 | 3716.218
FIRE HOSE SYSTEM | ASENWARE |  | AW-FB02 | 2 Ways Breeching Inlets |  | 7524.09 | 11286.135 | 9781.317 | 9781.317 | 9028.908 | 8652.7035 | 8276.499
FIRE HOSE SYSTEM | ASENWARE |  | AW-FB04 | 4 Ways Breeching Inlets |  | 15444.45 | 23166.675 | 20077.785 | 20077.785 | 18533.34 | 17761.1175 | 16988.895
FIRE HOSE SYSTEM | ASENWARE |  | AW-FHRC19/25 | Fire Hose Reel Cabinet |  | 5049.45 | 7574.175 | 6564.285 | 6564.285 | 6059.34 | 5806.8675 | 5554.395
FIRE HOSE SYSTEM | ASENWARE |  | AW-FHRV130-A | Fire Hose Reel Automatic 3/4" |  | 7524.09 | 11286.135 | 9781.317 | 9781.317 | 9028.908 | 8652.7035 | 8276.499
FIRE HOSE SYSTEM | ASENWARE |  | AW-FHRV130-M | Fire Hose Reel Manual 3/4" |  | 5742.45 | 8613.675 | 7465.185 | 7465.185 | 6890.94 | 6603.8175 | 6316.695
FIRE HOSE SYSTEM | ASENWARE |  | AW-FHRV230-A | Fire Hose Reel Automatic 1" |  | 8415.54 | 12623.31 | 10940.202 | 10940.202 | 10098.648 | 9677.871 | 9257.094
FIRE HOSE SYSTEM | ASENWARE |  | AW-FHRV230-M | Fire Hose Reel Manual 1" |  | 6534.36 | 9801.54 | 8494.668 | 8494.668 | 7841.232 | 7514.514 | 7187.796
FIRE HOSE SYSTEM | ASENWARE |  | AW-FHR130 Fire | Fire Hose Reel 3/4" |  | 4950.54 | 7425.81 | 6435.702 | 6435.702 | 5940.648 | 5693.121 | 5445.594
FIRE HOSE SYSTEM | ASENWARE |  | AW-FHR230 Fire | Fire Hose Reel 1" |  | 5841.36 | 8762.04 | 7593.768 | 7593.768 | 7009.632 | 6717.564 | 6425.496
FIRE HOSE SYSTEM | ASENWARE |  | AW-FHRC40 Fire | Fire Hose Cabinet 1.5" |  | 6435.45 | 9653.175 | 8366.085 | 8366.085 | 7722.54 | 7400.7675 | 7078.995
FIRE HOSE SYSTEM | ASENWARE |  | AW-FHRC40-1 | Fire Hose Cabinet 1.5" |  | 6435.45 | 9653.175 | 8366.085 | 8366.085 | 7722.54 | 7400.7675 | 7078.995
FIRE HOSE SYSTEM | ASENWARE |  | AW-FHRC65 | Fire Hose Cabinet 2.5" |  | 12870.27 | 19305.405 | 16731.351 | 16731.351 | 15444.324 | 14800.8105 | 14157.297
FIRE HOSE SYSTEM | ASENWARE |  | AW-FH40 Fire | Fire Hose 1.5" |  | 9801.54 | 14702.31 | 12742.002 | 12742.002 | 11761.848 | 11271.771 | 10781.694
FIRE HOSE SYSTEM | ASENWARE |  | AW-FH65 Fire | Fire Hose 2.5" |  | 7524.09 | 11286.135 | 9781.317 | 9781.317 | 9028.908 | 8652.7035 | 8276.499
FIRE HOSE SYSTEM | ASENWARE |  | AW-FHFC08 | Fire Hose Cabinet |  | 9801.54 | 14702.31 | 12742.002 | 12742.002 | 11761.848 | 11271.771 | 10781.694
FIRE HOSE SYSTEM | ASENWARE |  | AW-FHRC06 | Fire Hose Cabinet |  | 7524.09 | 11286.135 | 9781.317 | 9781.317 | 9028.908 | 8652.7035 | 8276.499
FIRE HOSE SYSTEM | ASENWARE |  | AW-FEC10 | Fire Extinguisher Cabinet |  | 2772 | 4158 | 3603.6 | 3603.6 | 3326.4 | 3187.8 | 3049.2
FIRE HOSE SYSTEM | ASENWARE |  | AW-LDV40 | Landing Valve 1.5" |  | 990.36 | 1485.54 | 1287.468 | 1287.468 | 1188.432 | 1138.914 | 1089.396
FIRE HOSE SYSTEM | ASENWARE |  | AW-LDV50 | Landing Valve 2" |  | 1881.18 | 2821.77 | 2445.534 | 2445.534 | 2257.416 | 2163.357 | 2069.298
FIRE HOSE SYSTEM | ASENWARE |  | AW-LDV65 | Landing Valve 2.5" |  | 2871.54 | 4307.31 | 3733.002 | 3733.002 | 3445.848 | 3302.271 | 3158.694
FIRE HOSE SYSTEM | ASENWARE |  | AW-LV65-2-F | Flange Type Landing Valve (Flange 2") |  | 7524.09 | 11286.135 | 9781.317 | 9781.317 | 9028.908 | 8652.7035 | 8276.499
FIRE HOSE SYSTEM | ASENWARE |  | AW-LV65-2.5-F | Flange Type Landing Valve (Flange 2.5") |  | 8118.18 | 12177.27 | 10553.634 | 10553.634 | 9741.816 | 9335.907 | 8929.998
FIRE HOSE SYSTEM | ASENWARE |  | AW-TLV65 | Thread Type Landing Valve |  | 4554.27 | 6831.405 | 5920.551 | 5920.551 | 5465.124 | 5237.4105 | 5009.697
FIRE HOSE SYSTEM | ASENWARE |  | AW-OFH65-4 | Outdoor Fire Hydrant |  | 20097 | 30145.5 | 26126.1 | 26126.1 | 24116.4 | 23111.55 | 22106.7
FIRE HOSE SYSTEM | ASENWARE |  | AW-WPFH65-4 | Wet Pillar Fire Hydrant 4" |  | 18810.54 | 28215.81 | 24453.702 | 24453.702 | 22572.648 | 21632.121 | 20691.594
FIRE HOSE SYSTEM | ASENWARE |  | AW-HCP65 | Hose Coupling |  | 3069.36 | 4604.04 | 3990.168 | 3990.168 | 3683.232 | 3529.764 | 3376.296
FIRE HOSE SYSTEM | ASENWARE |  | AW-BPWN65 | Branch Pipe w/ Nozzle |  | 2574.18 | 3861.27 | 3346.434 | 3346.434 | 3089.016 | 2960.307 | 2831.598
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0